## Slide 1: Hemefilter 10/7/22
Madison Butler

## Slide 2: Last week
Received blood, added antibiotics for storage
Calculated PfHb levels in rat blood with three different methods:
  Assay method to stay consistent to previous experiments
  Direct optical method
    Direct optical needed correction factor, likely is picking up other absorbances in plasma beyond hemoglobin. Bilirubin, etc
    With correction factor and different diluent than ASTM, this method is seeming too unsubstantiated to take seriously
  Katelin’s recommendation – ISO method with BGA, find “dilution” of plasma sample relative to lysed whole blood
    Lysed via DI water – reliability?
    BGA determination of Hb?
Brain device development meeting

## Slide 3: Gap vs Resistance testing

## Slide 4: This week
Tuesday – adjustment of PfHb to ~200
  Depending on samples it’s already there
Wednesday – Hb under flow with Anna
  PfHb determination method?
Investigating ISO method

## Slide 5: Other items
Hemofilter instead of Hemefilter? Not removing heme