## Slide 1: Hemefilter 10/3/22
Madison Butler

## Slide 2: Gap & resistance tests
All columns passed gap test: range 0.45-0.48mm
Columns tested for resistance using new top column
12.9% difference between HF-002 and HF-003
All resistance values higher than previous column
  5.82 mmHg/(mL/min)
What would cause higher resistance?
Chart: R (mmHg/(mL/min))
| HF-001 | HF-002 | HF-003
R (mmgHg/(ml/min)) | 9.1242 | 9.6475 | 8.478
Chart: t (s)
| 0 | 72 | 147 | 228 | 311 | 400
t1 | 0 | 0.036105 | 0.073563 | 0.11248 | 0.15297 | 0.19517
t2 | 0 | 0.036105 | 0.073563 | 0.11248 | 0.15297 | 0.19517
t3 | 0 | 0.036105 | 0.073563 | 0.11248 | 0.15297 | 0.19517
HF-001 resistance data as example, standard deviations calculated from difference in resistances in one device
HF-001, HF-002, HF-003 resistance results

## Slide 3: Other items
Nahmah placed Lampire order (thanks!), enables:
  Hb under flow experiments (top priority)
  Hb concentration evaluation of plasma samples
Can hopefully place orders soon, currently need:
  Manufactured PBS (to stay consistent to previous experiments)
  Poly prep chromatography columns (Hp immobilization on beads)
  Drabkin’s reagent for comparison with PBS as diluent for Hb measurement
  Bilirubin for effect on Hb measurement? (less necessary, expensive)
  HCl, other reagents
(Not Hemefilter related directly) received EVD cath from Dr. Greene
IACUC training – Anna and Madison should be done?
  AESP form – necessary? TB test part of form

## Slide 4: This week
Blood ships (& hopefully arrives) Tuesday
PfHb measuring Wednesday – Madison & Anna
PfHb brain capture device meeting Wednesday – 10am
Writing missing SOPs

## Slide 5: Plans for following weeks
Hb under flow 10/12/22
Determine Hb capture in Hb under flow experiment
Rat studies mid October – determining control group PfHb levels
  Anna and Madison set up to observe?
  Oxygenator?
Plan for benchtop recirculation experiments
  Bovine blood? Substantially cheaper
Finalize Hb concentration protocol (diluent, accuracy vs BGA/hemocue/assay method)
All SOPs written
Purchasing necessary materials